	bulletin

sales and marketing
	[image: image1.png]% siplast







	


IMPORTANT
PARAPRO 123 FLASHING SYSTEM STORAGE AND HANDLING GUIDELINES
May 15, 2005 – SM-0501
With warm weather approaching, it is timely to review storage and handling guidelines for Parapro 123 Flashing System materials.

· Always store Parapro resins and Pro Catalyst out of direct exposure to sunlight and areas where solar load can be excessive (such as vehicle dashboards).  Parapro resins and Pro Catalyst should be stored in cool, dry places that are well ventilated.  The shelf life of resins may be reduced if the products are stored at temperatures above 85(F (29(C).

· Keep Parapro resins and Pro Catalyst away from direct exposure to sunlight until application.  These materials should never be stored on the roof, as excessive heat can affect the usability of the products.  Materials kept on the roof during application should be placed on a pallet in a shaded, well-ventilated area.  In unshaded areas, materials should be covered with a white, reflective tarp in a manner that allows air circulation underneath the tarp.

· As with any construction material, the Material Safety Data Sheet (MSDS) should be reviewed for detailed handling and storage information.  Material Safety Data Sheets for Parapro products are available on the Siplast Web site at www.siplast.com, or by calling 1-800-922-8800.  Additionally, the MSDS for Parapro Membrane Resin is included in the Parapro Application Instruction booklet affixed to each 5-kg pail of Parapro Membrane Resin.

To help ensure a successful application, when working with the Parapro 123 Flashing System it is important to remember the following points:

· Parapro is a two-component product.  All Parapro resins, both summer and winter grades, must be catalyzed prior to application regardless of ambient or substrate temperature.  Because Parapro resins are not activated until they are mixed with Pro Catalyst, contractors can prepare only the amount of resin required for a job, eliminating waste.  Uncatalyzed resin will not cure, and will result in a failed application.

· Properly prepare the substrate and keep the application site clear of debris.  Contamination of Parapro materials during storage, mixing, and application can adversely affect the system’s performance.

· Always follow the detailed Parapro application instructions affixed to each 5-kg pail of Parapro Membrane Resin.  Additional information is included in the Parapro 123 Flashing System Installer’s Guide.

If you have any questions regarding Parapro mixing or application, please contact your Siplast Field Technical Representative or Sales Representative.

MD:SC:js

Distribution: A,  D, E, F, H, K, L

	Siplast  1000 E. Rochelle Blvd., Irving, Texas 75062 USA

Tel 469 995 2200, Fax 469 995 2249

In Canada:

201 Bewicke Avenue, Suite 210, North Vancouver, BC V7M 3M7

Tel 604 929 7687, Fax 604 929 7683

Toll Free in North America 1 800 922 8800

www.siplast.com


	[image: image2.png]6.

An lcopal Group Company








[image: image2.png]