GUIDE SPECIFICATION

Paradiene 20 TG/30 FR TG – torch applied system

Adhered Cover Panel

Adhered Polyisocyanurate

Temporary Roof

Over Structural Concrete Deck

Prepared by:

Siplast, Inc.

1000 Rochelle Blvd.

Irving, Texas 75062

(800) 922-8800

This specification is provided as a general guide for use of Siplast products based on typical building conditions and standard roofing practices.  Siplast is strictly a manufacturer of roofing systems and has no experience, training or expertise in the areas of architecture/engineering or in the area of consulting with respect to matters related to such areas.  Siplast recommends that the Owner's representative independently verify the accuracy and appropriateness of a specification provided for a specific project.

January 1, 2021

SECTION 07 52 00 MODIFIED BITUMINOUS MEMBRANE ROOFING   (Rev 1/1/2021)

PART 1  GENERAL

1.01  SECTION INCLUDES

A.
Temporary Roof Application

B.
Rigid Insulation Application

C.
Roof Membrane Application

D.
Roof Flashing Application

1.02  RELATED SECTIONS

A.
Section [-----] - Submittals

B.
Section [-----] - Rough Carpentry

C.
Section [-----] - Roof Decks

D.
Section [-----] - Sheet Metal Flashing Components and Roofing Accessories

E.
Section [-----] - Sheet Metal Flashing and Trim

F.
Section [-----] - Sheet Metal Roofing Specialties

G.
Section [-----] - Temporary Roofs/Vapor Retarder

*  NOTE:
A vapor retarder can be an important component in roof systems where climatic and building interior conditions require the prevention of vapor condensation within the roof assembly.

1.03  REFERENCE STANDARDS

References in these specifications to standards, test methods, codes etc., are implied to mean the latest edition of each such standard adopted.  The following is an abbreviated list of associations, institutions, and societies which may be used as references throughout this specification section.

ASTM
American Society for Testing and Materials 


Philadelphia, PA

FM
Factory Mutual Engineering Research Corp.


Norwood, MA

NRCA
National Roofing Contractors Association


Rosemont, IL

CERTA
Certified Roofing Torch Applicator


Rosemont, IL

OSHA
Occupational Safety and Health Administration


Washington, DC

SMACNA
Sheet Metal and Air Conditioning Contractors National Association


Chantilly, VA

UL
Underwriters Laboratories


Northbrook, IL

1.04  SUBMITTALS

All submittals which do not conform to the following requirements will be rejected.

*  NOTE:
Coordinate submittal requirements with general provisions.  Modify submittals to suit specific project requirements.

A.
Submittals Prior to Contract Award:

1.
Letter from the proposed primary roofing manufacturer confirming that the bidder is an acceptable Contractor authorized to install the proposed system.

2.
Letter from the primary roofing manufacturer stating that the proposed application will comply with the Manufacturer's requirements in order to qualify the project for the specified guarantee.

1.05  QUALITY ASSURANCE

A.
Acceptable Products:  Provide primary roofing products, including each type of sheet, all manufactured in the United States, supplied by a single manufacturer which has been successfully producing the specified types of primary products for not less than 10 years.  Provide secondary or accessory products which are acceptable to the manufacturer of the primary roofing products.

B.
Product Quality Assurance Program:  Primary roofing materials shall be manufactured under a quality management system that is monitored regularly by a third party auditor under the ISO 9001 audit process.  A certificate of analysis for reporting/confirming the tested values of the actual material being supplied for the project will be required prior to project close-out. 

*  NOTE:
Coordinate the desired fire and windstorm rating with the Underwriters Laboratories Roofing Materials and Systems Directory and the relevant independent wind uplift testing agency.

C.
Agency Approvals:  The proposed roof system shall conform to the following requirements.  No other testing agency approvals will be accepted.

1.
Underwriters Laboratories Class [-----] acceptance of the proposed roofing system.

2.
Evidence by an accredited independent testing agency or agencies that the roof configuration meets a design windload pressure of - [---] psf or greater.

3.
The roof membrane manufacturer shall participate in an independent testing program to verify physical/mechanical properties of the specified roof membrane materials.
D.
Project Acceptance:  Submit a completed manufacturer's application for roof guarantee form along with shop drawings of the roofs showing all dimensions, penetrations, and details.  The form shall contain all the technical information applicable to the project including deck types, roof slopes, base sheet and/or insulation assemblies (with method of attachment, and fastener type), and manufacturer's membrane assembly proposed for installation.  The project must receive approval, through this process, prior to shipment of materials to the project site.

E.
Scope of Work:  The work to be performed under this specification shall include but is not limited to the following:  Attend necessary job meetings and furnish competent and full time supervision, experienced roof mechanics, all materials, tools, and equipment necessary to complete, in an acceptable manner, the roof installation in accordance with this specification.  Comply with the latest written application instructions of the manufacturer of the primary roofing products.  In addition, application practice shall comply with requirements and recommendations contained in the latest edition of the Handbook of Accepted Roofing Knowledge (HARK) as published by the National Roofing Contractor's Association, amended to include the acceptance of a phased roof system installation.

F.
Local Regulations:  Conform to regulations of public agencies, including any specific requirements of the city and/or state of jurisdiction.

G.
Manufacturer Requirements:  The primary roofing materials manufacturer shall provide direct trained company personnel to attend necessary job meetings, perform periodic inspections as necessary, and conduct a final inspection upon successful completion of the project.

1.06  PRODUCT DELIVERY STORAGE AND HANDLING

A.
Delivery:  Deliver materials in the manufacturer's original sealed and labeled containers and in quantities required to allow continuity of application.

B.
Storage:  Store materials out of direct exposure to the elements.  Store roll goods on a clean, flat and dry surface.  All material stored on the roof overnight shall be stored on pallets.  Rolls of roofing must be stored on ends.  Store materials on the roof in a manner so as to preclude overloading of deck and building structure.  Store materials such as solvents, adhesives and asphalt cutback products away from open flames, sparks or excessive heat.  Cover all material using a breathable cover such as a canvas.  Polyethylene or other non-breathable plastic coverings are not acceptable.

C.
Handling:  Handle all materials in such a manner as to preclude damage and contamination with moisture or foreign matter.  Handle rolled goods to prevent damage to edges or ends.

D.
Damaged Material:  Any materials that are found to be damaged or stored in any manner other than stated above will be automatically rejected, and will require removal and replacement at the Contractor's expense.
1.07  PROJECT/SITE CONDITIONS

A.
Requirements Prior to Job Start

1.
Notification:  Give a minimum of 5 days notice to the Owner and manufacturer prior to commencing any work and notify both parties on a daily basis of any change in work schedule.

2.
Safety:  Familiarize every member of the application crew with all fire and safety regulations recommended by OSHA, NRCA and other industry or local governmental groups.

B.
Environmental Requirements

1.
Precipitation:  Do not apply roofing materials during precipitation or in the event there is a probability of precipitation during application.  Take adequate precautions to ensure that materials, applied roofing, and building interiors are protected from possible moisture damage or contamination.

2.
Temperature Restrictions - self-adhesive sheets:  The minimum required substrate temperature at point of application is 40(F (4(C).  Maintain a minimum roof membrane material temperature above 60° F (16° C).  In low temperature conditions, keep materials warm prior to application.  Suspend application in situations where the self-adhered base ply cannot be kept at temperatures allowing for proper adhesion.

C.
Protection Requirements

1.
Membrane Protection:  Provide protection against staining and mechanical damage for newly applied roofing and adjacent surfaces throughout this project.

2.
Torch Safety:  Crew members handling torches shall be trained by an Authorized Certified Roofing Torch Applicator (CERTA) Trainer, be certified according to CERTA torch safety guidelines as published by the National Roofing Contractor's Association (NRCA), and follow torch safety practices as required by the contractor's insurance carrier.  Designate one person on each crew to perform a daily fire watch.  The designated crew member shall watch for fires or smoldering materials on all areas during roof construction activity, and for the minimum period required by CERTA guidelines after roofing material application has been suspended for the day.

3.
Debris Removal:  Remove all debris daily from the project site and take to a legal dumping area authorized to receive such materials.

4.
Site Condition:  Complete, to the owner's satisfaction, all job site clean-up including building interior, exterior and landscaping where affected by the construction.

1.08  GUARANTEE

*  NOTE:
Choose the guarantee type below as appropriate for the type of coverage desired.  “Membrane/System” includes the Siplast Paratherm insulation system and related accessories.

A.
Roof Membrane Guarantee:  Upon successful completion of the project, and after all post installation procedures have been completed, furnish the Owner with the manufacturer's 20 year labor and materials membrane guarantee.  The guarantee shall be a term type, without deductibles or limitations on coverage amount, and shall be issued at no additional cost to the Owner.

>
Siplast 20-year Roof Membrane Guarantee

A.
Roof Membrane/System Guarantee:  Upon successful completion of the project, and after all post installation procedures have been completed, furnish the Owner with the manufacturer's 20 year labor and materials guarantee covering the rigid insulation, insulation fasteners/plates, insulation adhesive and roof membrane/flashing system.  The guarantee shall be a term type, without deductibles or limitations on coverage amount, and shall be issued at no additional cost to the Owner.

>
Siplast 20 year Roof Membrane/System Guarantee

PART 2  PRODUCTS

2.01  ROOFING SYSTEM ASSEMBLY/PRODUCTS

A.
Temporary Roof Ply Sheet
1.
Torchable Modified Bitumen Ply Sheet:  A fiberglass mat reinforced modified bitumen sheet, coated on one side with a high quality torch grade SBS modified bitumen blend, having a minimum weight of 76 lb/sq.

>
Siplast Paradiene 20 TG

2.
Torchable Bituminous Ply Sheet:  A fiberglass reinforced, specially oxidized asphalt coated sheet, having an minimum weight of 85 lb/sq.

>
Siplast Irex 40 

3.
Adhesive-applied Modified Bitumen Ply Sheet:  A fiberglass mat reinforced modified bitumen sheet, having a minimum weight of 62 lb/sq.

>
Siplast Paradiene 20

4.
Self-Adhesive Modified Bitumen Ply Sheet:  A fiberglass mat reinforced modified bitumen sheet, coated on one side with a self-adhesive bitumen layer specifically formulated for optimum adhesion in low-slope membrane applications, lined with a high strength polyolefin release film, and having a minimum weight of 72 lb/sq.

>
Siplast Paradiene 20 SA

B.
Rigid Roof Insulation:  Roof insulation shall be UL and FM approved.  Insulation shall be approved in writing by the insulation manufacturer for intended use and for use with the specified roof assembly.  Maintain a maximum panel size of 4 feet by 4 feet where polyisocyanurate / fiberboard insulation is specified to be installed in insulation adhesive.

1.
Polyisocyanurate:  A closed cell, rigid polyisocyanurate foam core material, integrally laminated between glass fiber reinforced organic facers [polymer bonded glass fiber facers], in full compliance with ASTM C 1289, Type II, Class 1 [Class 2], Grade 2 (20 psi) [Grade 3 (25 psi)].  Panels shall have a nominal thickness of [--] inches.  Acceptable types are as follows:

>
Paratherm by Siplast; Irving, TX

2.
Polyisocyanurate Tapered Roof Insulation:  Tapered panels and standard fill panels composed of a closed cell, rigid polyisocyanurate foam core material, integrally laminated between glass fiber reinforced organic facers [polymer bonded glass fiber facers], in full compliance with ASTM C 1289, Type II, Class 1 [Class 2], Grade 2 (20 psi) [Grade 3 (25 psi)].  The tapered system shall provide for a roof slope of [---] inch per foot.  Acceptable types are as follows.

>
Tapered Paratherm by Siplast; Irving, TX

3.
Gypsum Sheathing Panel:  A non-structural gypsum panel composed of fiber reinforced synthetic gypsum.  Provide panels having a nominal thickness of [---] inch.  Acceptable types are as follows:

>
Securock Gypsum-Fiber Roof Board by United States Gypsum; Chicago, IL

4.
Gypsum Sheathing Panel:  A panel composed of a gypsum based, non-structural water resistant core material integrally bonded with fiberglass mats on both sides.  Provide panels having a nominal thickness of [---] inch.  Acceptable types are as follows:

>
DensDeck Gypsum Roof Board, by Georgia Pacific Corporation; Atlanta, GA

5.
Gypsum Sheathing Panel:  A panel composed of a gypsum based, non-structural water resistant core material integrally bonded with fiberglass mats on both sides having a nominal thickness of [---] inch.  The panel surface shall be factory primed with a non-asphaltic primer.  Acceptable types are as follows:

>
DensDeck Prime Gypsum Roof Board, by Georgia Pacific Corporation; Atlanta, GA

6.
Perlite Tapered Edge Panels:  A tapered panel composed of expanded volcanic minerals combined with waterproofing binders.  The top surface shall be pre-treated with an asphalt based coating.  The panels shall have a dimension sufficient to provide for a smooth transition and provide proper support for the membrane layer or subsequent layer of insulation when there are transitions of 1/4 inch or greater.
2.02  DESCRIPTION OF SYSTEMS

A.
Roofing Membrane Assembly:  A roof membrane assembly consisting of two plies of a prefabricated, reinforced, homogeneous Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt membrane, applied over a prepared substrate.  Reinforcement mats shall be impregnated/saturated and coated each side with SBS modified bitumen blend and coated one side with a torch grade SBS bitumen blend adhesive layer.  The adhesive layer shall be manufactured using a process that embosses the surface with a grooved pattern to provide optimum burn‑off of the plastic film and to maximize application rates.  The cross sectional area of the sheet material shall contain no oxidized or non-SBS modified bitumen.  The roof system shall pass 500 cycles of ASTM D 5849 Resistance to Cyclic Joint Displacement (fatigue) at 14(F (-10(C).  Passing results shall show no signs of membrane cracking or interply delamination after 500 cycles.  The roof system shall pass 200 cycles of ASTM D 5849 after heat conditioning performed in accordance with ASTM D 5147.  The assembly shall possess waterproofing capability, such that a phased roof application, with only the modified bitumen base ply in place, can be achieved for prolonged periods of time without detriment to the watertight integrity of the entire roof system.

>
Siplast Paradiene 20 TG/30 FR TG torchable roof system

1.
Modified Bitumen Base and Stripping Ply

a)
Thickness (avg):  114 mils (2.9 mm)  (ASTM D 5147)

b)
Thickness (min):  110 mils (2.8 mm)  (ASTM D 5147)

c)
Weight (min per 100 ft² of coverage):  76 lb (3.7 kg/m²)

d)
Maximum filler content in elastomeric blend:  35% by weight

e)
Low temperature flexibility @ -15symbol 186 \f "Ariel" \s 11 \h F (-26symbol 186 \f "Ariel" \s 11 \h C) - PASS  (ASTM D 5147)

f)
Peak Load (avg) @ 73symbol 186 \f "Ariel" \s 11 \hF (23symbol 186 \f "Ariel" \s 11 \hC):  30 lbf/inch (5.3 kN/m) (ASTM D 5147)

g)
Peak Load (avg) @ 0symbol 186 \f "Ariel" \s 11 \hF (-18symbol 186 \f "Ariel" \s 11 \hC):  75 lbf/inch (13.2 kN/m) (ASTM D 5147)

h)
Ultimate Elongation (avg.) @ 73symbol 186 \f "Ariel" \s 11 \hF (23symbol 186 \f "Ariel" \s 11 \hC):  50%  (ASTM D 5147)

i)
Dimensional Stability (max):  0.1%  (ASTM D 5147)

j)
Compound Stability (min):  250symbol 186 \f "Ariel" \s 11 \hF (121symbol 186 \f "Ariel" \s 11 \hC)  (ASTM D 5147)

k)
Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

l)
Reinforcement:  fiberglass mat or other meeting the performance and dimensional stability criteria

>
Paradiene 20 TG by Siplast; Irving, TX

2.
Modified Bitumen Finish Ply

a)
Thickness  (avg):  138 mils (3.5 mm)  (ASTM D 5147)

b)
Thickness at selvage (coating thickness) (avg):  118 mils (3.0 mm)  (ASTM D 5147)

c)
Thickness at selvage (coating thickness) (min):  114 mils (2.9 mm)  (ASTM D 5147)

d)
Weight (min per 100 ft² of coverage):  112 lb (5.4 kg/m²)

e)
Maximum filler content in elastomeric blend:  35% by weight

f)
Low temperature flexibility @ -15symbol 186 \f "Ariel" \s 11 \hF (-26symbol 186 \f "Ariel" \s 11 \hC):  PASS  (ASTM D 5147)

g)
Peak Load (avg) @ 73symbol 186 \f "Ariel" \s 11 \hF (23symbol 186 \f "Ariel" \s 11 \hC):  30 lbf/inch (5.3 kN/m) (ASTM D 5147)

h)
Peak Load (avg) @ 0symbol 186 \f "Ariel" \s 11 \hF (-18symbol 186 \f "Ariel" \s 11 \hC):  75 lbf/inch (13.2 kN/m)  (ASTM D 5147)

i)
Ultimate Elongation (avg.) @ 73symbol 186 \f "Ariel" \s 11 \hF (23symbol 186 \f "Ariel" \s 11 \hC):  55%  (ASTM D 5147)

j)
Dimensional Stability (max):  0.1%  (ASTM D 5147)

k)
Compound Stability (min):  250symbol 186 \f "Ariel" \s 11 \hF (121symbol 186 \f "Ariel" \s 11 \h C)  (ASTM D 5147)

l)
Granule Embedment (max individual loss):  2.0 grams per sample  (ASTM D 5147)

m)
Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

n)
Reinforcement:  fiberglass mat or other meeting the performance and dimensional stability criteria

o)
Surfacing:  ceramic granules

>
Paradiene 30 FR TG by Siplast; Irving, TX

*   NOTE:
Choose one of the following flashing systems in accordance with the project design requirements.

B.
Flashing Membrane Assembly:  A flashing system consisting of a prefabricated, granule surfaced, reinforced, Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt flashing membrane.

>
Siplast Paradiene 40 FR flashing system

1.
Modified Bitumen Flashing Ply

a)
Thickness (avg.) - 154 mils (3.9 mm)

b)
Thickness at selvage (avg.) - 130 mils (3.3 mm)  (ASTM D 5147)

c)
Thickness at selvage (min.) - 126 mils (3.2 mm)  (ASTM D 5147)

d)
Weight (min. per 100 ft² of coverage) - 114 lb. - 5.5 kg/m²

e)
Filler content in elastomeric blend - less than 35% by weight

f)
Low temperature flexibility @ -15symbol 186 \f "Ariel" \s 11 \h F (-26symbol 186 \f "Ariel" \s 11 \h C) - PASS  (ASTM D 5147)

g)
Peak Load (avg.) @ 73symbol 186 \f "Ariel" \s 11 \h F - 80 lbf/inch (14.1 kN/m) (ASTM D 5147)

h)
Peak Load (avg.) @ 0symbol 186 \f "Ariel" \s 11 \h F - 150 lbf/inch (26.5 kN/m) (ASTM D 5147)

i)
Ultimate Elongation (avg.) @ 73symbol 186 \f "Ariel" \s 11 \h F - 80%  (ASTM D 5147)

j)
Dimensional Stability (max.) - 0.5%  (ASTM D 5147)

k)
Compound Stability (min.) - 250symbol 186 \f "Ariel" \s 11 \h F (121symbol 186 \f "Ariel" \s 11 \h C)  (ASTM D 5147)

l)
Granule Embedment (max. individual loss) - 2.0 grams per sample  (ASTM D 5147)

m)
Approvals - UL Class listed (products shall bear seal of approval)

n)
Reinforcement - fiberglass scrim/fiberglass mat or other meeting the performance criteria

o)
Surfacing - ceramic granules

>
Paradiene 40 FR by Siplast; Irving, TX
B.
Flashing Membrane Assembly.  A flashing system consisting of a prefabricated, granule surfaced, reinforced, Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt flashing membrane.  The reinforcement mat shall be impregnated and coated each side with SBS modified bitumen blend.

>
Siplast Parafor 30, flashing system

1.
Modified Bitumen Flashing Ply

a)
Thickness  (avg):  161 mils (4.1 mm)  (ASTM D 5147)

b)
Thickness at selvage (coating thickness) (avg):  122 mils (3.10 mm)  (ASTM D 5147)

c)
Thickness at selvage (coating thickness) (min):  118 mils (3.0 mm)  (ASTM D 5147)

d)
Weight (min per 100 ft² of coverage):  114 lb (5.2 kg/m²)

e)
Maximum filler content in elastomeric blend:  35% by weight

f)
Low temperature flexibility @ -15F (-.50C) - PASS  (ASTM D 5147)

g)
Peak Load (avg) @ 73F (23C):  65 lbf/inch (10.5 kN/m) (ASTM D 5147)

h)
Peak Load (avg) @ 0F (-18C):  115 lbf/inch (20.1 kN/m) (ASTM D 5147)

i)
Ultimate Elongation (avg.) @ 73F (23C):  90%  (ASTM D 5147)

j)
Dimensional Stability (max):  0.5%  (ASTM D 5147)

k)
Compound Stability (min):  250symbol 186 \f "Times New Roman" \s 11 \hF (121symbol 186 \f "Times New Roman" \s 11 \hC)  (ASTM D 5147)

l)
Granule Embedment (max individual loss):  2.0 grams per sample  (ASTM D 5147)

m)
Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

n)
Reinforcement:  fiberglass scrim/polyester mat or other meeting the performance and dimensional stability criteria

o)
Surfacing:  ceramic granules

>
Parafor 30 by Siplast; Irving, TX
B.
Flashing Membrane Assembly.  A flashing system consisting of a prefabricated, granule surfaced, reinforced, Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt flashing membrane.  The reinforcement mat shall be impregnated and coated each side with SBS modified bitumen blend.

>
Siplast Parafor 30 TG, flashing system

1.
Cant Backing Sheet and Flashing Reinforcing Ply

a)
Thickness (avg):  102 mils (2.6 mm)  (ASTM D 5147)

b)
Thickness (min):  98 mils (2.5 mm)  (ASTM D 5147)

c)
Weight (min per 100 ft² of coverage):  72 lb (3.5 kg/m²)

d)
Maximum filler content in elastomeric blend:  35% by weight

e)
Low temperature flexibility @ -15symbol 186 \f "Times New Roman" \s 11 \h F (-26symbol 186 \f "Times New Roman" \s 11 \h C) - PASS  (ASTM D 5147)

f)
Peak Load (avg) @ 73symbol 186 \f "Times New Roman" \s 11 \hF (23symbol 186 \f "Times New Roman" \s 11 \hC):  30 lbf/inch (5.3 kN/m) (ASTM D 5147)

g)
Peak Load (avg) @ 0symbol 186 \f "Times New Roman" \s 11 \hF (-18symbol 186 \f "Times New Roman" \s 11 \hC):  75 lbf/inch (13.2 kN/m) (ASTM D 5147)

h)
Ultimate Elongation (avg.) @ 73symbol 186 \f "Times New Roman" \s 11 \hF (23symbol 186 \f "Times New Roman" \s 11 \hC):  50%  (ASTM D 5147)

i)
Dimensional Stability (max):  0.1%  (ASTM D 5147)

j)
Compound Stability (min - sheet):  250symbol 186 \f "Times New Roman" \s 11 \hF (121symbol 186 \f "Times New Roman" \s 11 \hC)  (ASTM D 5147)

j)
Compound Stability (min – adhesive coating):  212symbol 186 \f "Times New Roman" \s 11 \hF (100symbol 186 \f "Times New Roman" \s 11 \hC)  (ASTM D 5147)

k)
Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

l)
Reinforcement:  fiberglass mat or other meeting the performance and dimensional stability criteria

m)
Back Surfacing:  polyolefin film

>
Paradiene 20 SA by Siplast; Irving, TX
2.
Modified Bitumen Flashing Ply

a)
Thickness  (avg):  161 mils (4.1 mm)  (ASTM D 5147)

b)
Thickness at selvage (coating thickness) (avg):  122 mils (3.1 mm)  (ASTM D 5147)

c)
Thickness at selvage (coating thickness) (min):  118 mils (3.0 mm)  (ASTM D 5147)

d)
Weight (min per 100 ft² of coverage):  114 lb (5.2 kg/m²)

e)
Maximum filler content in elastomeric blend:  35% by weight

f)
Low temperature flexibility @ -15F (-.50C) - PASS  (ASTM D 5147)

g)
Peak Load (avg) @ 73F (23C):  65 lbf/inch (10.5 kN/m) (ASTM D 5147)

h)
Peak Load (avg) @ 0F (-18C):  115 lbf/inch (20.1 kN/m) (ASTM D 5147)

i)
Ultimate Elongation (avg.) @ 73F (23C):  90%  (ASTM D 5147)

j)
Dimensional Stability (max):  0.5%  (ASTM D 5147)

k)
Compound Stability (min):  250F (121C)  (ASTM D 5147)

l)
Granule Embedment (max individual loss):  2.0 grams per sample  (ASTM D 5147)

m)
Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

n)
Reinforcement:  fiberglass scrim/polyester mat or other meeting the performance and dimensional stability criteria

o)
Surfacing:  ceramic granules

>
Parafor 30 TG by Siplast; Irving, TX
B.
Flashing Membrane Assembly.  A flashing system consisting of a prefabricated, granule surfaced, reinforced, Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt flashing membrane.  The reinforcement mat shall be impregnated and coated each side with SBS modified bitumen blend.

>
Siplast Paradiene 40 FR TG, flashing system

1.
Cant Backing Sheet and Flashing Reinforcing Ply

a)
Thickness (avg):  102 mils (2.6 mm)  (ASTM D 5147)

b)
Thickness (min):  98 mils (2.5 mm)  (ASTM D 5147)

c)
Weight (min per 100 ft² of coverage):  72 lb (3.5 kg/m²)

d)
Maximum filler content in elastomeric blend:  35% by weight

e)
Low temperature flexibility @ -15symbol 186 \f "Times New Roman" \s 11 \h F (-26symbol 186 \f "Times New Roman" \s 11 \h C) - PASS  (ASTM D 5147)

f)
Peak Load (avg) @ 73symbol 186 \f "Times New Roman" \s 11 \hF (23symbol 186 \f "Times New Roman" \s 11 \hC):  30 lbf/inch (5.3 kN/m) (ASTM D 5147)

g)
Peak Load (avg) @ 0symbol 186 \f "Times New Roman" \s 11 \hF (-18symbol 186 \f "Times New Roman" \s 11 \hC):  75 lbf/inch (13.2 kN/m) (ASTM D 5147)

h)
Ultimate Elongation (avg.) @ 73symbol 186 \f "Times New Roman" \s 11 \hF (23symbol 186 \f "Times New Roman" \s 11 \hC):  50%  (ASTM D 5147)

i)
Dimensional Stability (max):  0.1%  (ASTM D 5147)

j)
Compound Stability (min - sheet):  250symbol 186 \f "Times New Roman" \s 11 \hF (121symbol 186 \f "Times New Roman" \s 11 \hC)  (ASTM D 5147)

j)
Compound Stability (min – adhesive coating):  212symbol 186 \f "Times New Roman" \s 11 \hF (100symbol 186 \f "Times New Roman" \s 11 \hC)  (ASTM D 5147)

k)
Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

l)
Reinforcement:  fiberglass mat or other meeting the performance and dimensional stability criteria

m)
Back Surfacing:  polyolefin film

>
Paradiene 20 SA by Siplast; Irving, TX
2.
Modified Bitumen Flashing Ply

a)
Thickness  (avg):  154 mils (3.9 mm)  (ASTM D 5147)

b)
Thickness at selvage (coating thickness) (avg):  130 mils (3.3 mm)  (ASTM D 5147)

c)
Thickness at selvage (coating thickness) (min):  126 mils (3.2 mm)  (ASTM D 5147)

d)
Weight (min per 100 ft² of coverage):  125 lb (6.1 kg/m²)

e)
Maximum filler content in elastomeric blend:  35% by weight

f)
Low temperature flexibility @ -15symbol 186 \f "Ariel" \s 11 \hF (-26symbol 186 \f "Ariel" \s 11 \hC) - PASS  (ASTM D 5147)

g)
Peak Load (avg) @ 73symbol 186 \f "Ariel" \s 11 \hF (23symbol 186 \f "Ariel" \s 11 \hC):  80 lbf/inch (14.1 kN/m) (ASTM D 5147)

h)
Peak Load (avg) @ 0symbol 186 \f "Ariel" \s 11 \hF (-18symbol 186 \f "Ariel" \s 11 \hC):  150 lbf/inch (26.5 kN/m) (ASTM D 5147)

i)
Ultimate Elongation (avg.) @ 73symbol 186 \f "Ariel" \s 11 \hF (23symbol 186 \f "Ariel" \s 11 \hC):  80%  (ASTM D 5147)

j)
Dimensional Stability (max):  0.1%  (ASTM D 5147)

k)
Compound Stability (min):  250symbol 186 \f "Ariel" \s 11 \hF (121symbol 186 \f "Ariel" \s 11 \hC)  (ASTM D 5147)

l)
Granule Embedment (max individual loss):  2.0 grams per sample  (ASTM D 5147)

m)
Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

n)
Reinforcement:  fiberglass scrim/fiberglass mat or other meeting the performance and dimensional stability criteria

o)
Surfacing:  ceramic granules

>
Paradiene 40 FR TG by Siplast; Irving, TX

B.
Flashing Membrane Assembly:  A flashing membrane assembly consisting of a prefabricated, reinforced, Styrene-Butadiene-Styrene (SBS) block copolymer modified asphalt membrane with a continuous, channel-embossed metal-foil surfacing.  The finish ply shall conform to ASTM D 6298 and the following physical and mechanical property requirements.

>
Siplast Veral flashing system, aluminum finish

1.
Cant Backing Sheet and Flashing Reinforcing Ply

a)
Thickness (avg):  102 mils (2.6 mm)  (ASTM D 5147)

b)
Thickness (min):  98 mils (2.5 mm)  (ASTM D 5147)

c)
Weight (min per 100 ft² of coverage):  72 lb (3.5 kg/m²)

d)
Maximum filler content in elastomeric blend:  35% by weight

e)
Low temperature flexibility @ -15symbol 186 \f "Times New Roman" \s 11 \h F (-26symbol 186 \f "Times New Roman" \s 11 \h C) - PASS  (ASTM D 5147)

f)
Peak Load (avg) @ 73symbol 186 \f "Times New Roman" \s 11 \hF (23symbol 186 \f "Times New Roman" \s 11 \hC):  30 lbf/inch (5.3 kN/m) (ASTM D 5147)

g)
Peak Load (avg) @ 0symbol 186 \f "Times New Roman" \s 11 \hF (-18symbol 186 \f "Times New Roman" \s 11 \hC):  75 lbf/inch (13.2 kN/m) (ASTM D 5147)

h)
Ultimate Elongation (avg.) @ 73symbol 186 \f "Times New Roman" \s 11 \hF (23symbol 186 \f "Times New Roman" \s 11 \hC):  50%  (ASTM D 5147)

i)
Dimensional Stability (max):  0.1%  (ASTM D 5147)

j)
Compound Stability (min - sheet):  250symbol 186 \f "Times New Roman" \s 11 \hF (121symbol 186 \f "Times New Roman" \s 11 \hC)  (ASTM D 5147)

j)
Compound Stability (min – adhesive coating):  212symbol 186 \f "Times New Roman" \s 11 \hF (100symbol 186 \f "Times New Roman" \s 11 \hC)  (ASTM D 5147)

k)
Approvals:  UL Class listed, FM Approved (products shall bear seals of approval)

l)
Reinforcement:  fiberglass mat or other meeting the performance and dimensional stability criteria

m)
Back Surfacing:  polyolefin film

>
Paradiene 20 SA by Siplast; Irving, TX
2.
Metal-Clad Modified Bitumen Flashing Sheet

a)
Thickness (avg):  150 mils (3.8 mm)  (ASTM D 5147)

b)
Thickness (min):  146 mils (3.7 mm)  (ASTM D 5147)

c)
Weight (min per 100 ft² of coverage):  96 lb (4.6 kg/m²)

d)
Coating Thickness – back surface (min):  40 mils (1 mm)  (ASTM D 5147)

e)
Low temperature flexibility @ 0symbol 186 \f "Times New Roman" \s 11 \h F (-18symbol 186 \f "Times New Roman" \s 11 \h C):  PASS  (ASTM D 5147)

f)
Peak Load (avg) @ 73symbol 186 \f "Times New Roman" \s 11 \hF (23symbol 186 \f "Times New Roman" \s 11 \hC):  85 lbf/inch (15 kN/m)  (ASTM D 5147)

g)
Peak Load (avg) @ 0symbol 186 \f "Times New Roman" \s 11 \hF (-18symbol 186 \f "Times New Roman" \s 11 \hC):  180 lbf/inch (31.7 kN/m)  (ASTM D 5147)

h)
Ultimate Elongation (avg) @ 73symbol 186 \f "Times New Roman" \s 11 \hF (23symbol 186 \f "Times New Roman" \s 11 \hC):  45%  (ASTM D 5147)

i)
Tear-Strength (avg):  120 lbf (0.54 kN)  (ASTM D 5147)

j)
Dimensional Stability (max):  0.2%  (ASTM D 5147)

k)
Compound Stability (min):  225symbol 186 \f "Times New Roman" \s 11 \hF (107symbol 186 \f "Times New Roman" \s 11 \hC)  (ASTM D 5147)

l)
Cyclic Thermal Shock Stability (maximum):  0.2%  (ASTM D 7051)

m)
Approvals:  UL Approved, FM Approved (products shall bear seals of approval)

n)
Reinforcement:  fiberglass scrim mat or other meeting the performance and dimensional stability criteria

o)
Surfacing:  aluminum metal foil

>
Veral Aluminum by Siplast; Irving, TX

*  NOTE:
Veral Aluminum must be applied in SFT Cement where torch application is not allowed.  Contact Siplast for more information regarding approved flashing sheets and application methods to meet individual project requirements and Siplast Specifications.

C.
Catalyzed Acrylic Resin Flashing System:  A specialty flashing system consisting of a PMMA-based, fully reinforced membrane installed over a prepared or primed substrate.  The flashing system consists of a catalyzed acrylic resin primer, basecoat and topcoat, combined with a non-woven polyester fleece.  The use of the specialty flashing system shall be specifically approved in advance by the membrane manufacturer for each application.

>
Parapro 123 Flashing System by Siplast; Irving, TX

*   NOTE:
Unistrut supports are not a suitable substrate for the Parapro 123 Flashing System.  Any unistrut type penetration that is required to be incorporated into the roofing system should be replaced by a solid square or angle iron penetration with a fully welded plate.

2.03  ROOFING ACCESSORIES

A.
Insulation Adhesives

1.
Insulation Adhesive:  A single component, moisture cured, polyurethane foam adhesive, dispensed from a portable, pre-pressurized container used to adhere insulation panels to the substrate, as well as to other insulation panels.

>
Para-Stik Insulation Adhesive by Siplast; Irving, TX

2.
Insulation Adhesive:  A dual component, polyurethane foam adhesive used to adhere insulation panels to the substrate, as well as to other insulation panels.

>
Parafast Insulation Adhesive by Siplast; Irving, TX
B.
Roofing Adhesives

1.
Membrane Cold Adhesive:  An asphalt, solvent blend conforming to ASTM D 4479, Type II requirements.

>
PA-311 R Adhesive by Siplast; Irving, TX

2.
Mastic:  An asphalt cutback mastic, reinforced with non-asbestos fibers, used as a base for setting metal flanges conforming to ASTM D 4586 Type II requirements.

>
PA-1021 Plastic Cement by Siplast; Irving, TX

3.
Flashing Adhesive:  A slump resistant, asphalt cutback flashing adhesive, reinforced with non-asbestos fibers, conforming to ASTM D 4586 Type II requirements.

>
PA-828 Flashing Cement

4.
Membrane Adhesive:  A single component, modified asphalt adhesive designed for application of the specified roof membrane system.

>
SFT Adhesive by Siplast; Irving, TX

5.
Flashing Adhesive:  A single-component, modified adhesive.  The adhesive blend shall be formulated in a grade for application of flashing materials.

>
SFT Cement by Siplast; Irving, TX

C.
Primers

1.
Primer:  An asphalt/solvent blend meeting ASTM D 41, South Coast Air Quality District and Ozone Transport Commission requirements.

>
PA-917 Primer by Siplast; Irving, TX

2.
Primer:  An asphalt, solvent blend conforming to ASTM D 41 requirements.

>
PA-1125 Asphalt Primer by Siplast; Irving, TX

3.
Primer for Self-Adhesive Sheets:  A quick drying, low-VOC, water-based, high-tack primer specifically designed to promote adhesion of roofing and waterproofing sheets to approved substrates. Primer shall meet South Coast Air Quality District and Ozone Transport Commission requirements.
>
TA-119 Primer by Siplast; Irving, TX

D.
Sealant (low slope applications):  A moisture-curing, self-leveling elastomeric sealant designed for roofing applications.  The sealant shall be approved by the roof membrane manufacturer for use in conjunction with the roof membrane materials.  Acceptable types are as follows:

>
PS-209 Elastomeric Sealant by Siplast; Irving, TX

E.
Sealant (vertical and sloped applications):  A moisture-curing, non-slump elastomeric sealant designed for roofing applications.  The sealant shall be approved by the roof membrane manufacturer for use in conjunction with the roof membrane materials.  Acceptable types are as follows:

>
PS-715 NS Elastomeric Sealant by Siplast; Irving, TX

F.
Ceramic Granules:  No. 11 grade specification ceramic granules of color scheme matching the granule surfacing of the finish ply.

G.
Perlite Cant Strips:  A cant strip composed of expanded volcanic minerals combined with waterproofing binders.  The top surface shall be pre-treated with an asphalt based coating.  The face of the cant shall have a nominal 4 inch dimension.

H.
Fasteners

1.
Flashing Reinforcing Sheet Fasteners for Wood/Plywood Substrates to Receive Flashing Coverage:  Fasteners shall be approved by the manufacturer of the primary roofing products.  Acceptable fasteners for specific substrate types are listed below.

a)
Wood/Plywood Substrates

-
A 12 gauge, spiral or annular threaded shank, zinc coated steel roofing fastener having a minimum 1 inch head. 

>
Square Cap by Maze Nails; Peru, IL

>
Simplex Cap Nail by Simplex Nails, Inc., Americus, GA

I.
Walktread:  A prefabricated, puncture resistant polyester core reinforced, polymer modified bitumen sheet material topped with a ceramic-coated granule wearing surface.

1.
Thickness: 0.217 in (5.5 mm)

2.
Weight: 1.4 lb/ft² (6.8 kg/m²)

3.
Width: 30 in (76.2 cm)

>
Paratread by Siplast; Irving, TX

PART 3 EXECUTION

3.01  PREPARATION

*  NOTE:
Edit this section to address specific job conditions which may affect the scope of work.

A.
General:  Sweep or vacuum all surfaces, removing all loose aggregate and foreign substances prior to commencement of roofing.

B.
Primer for Self-Adhesive Sheets:  Apply the specified high-tack primer by roller or spray in an even film. Refer to the manufacturer’s literature for the approved rate of application over various substrate types. Allow the primer to dry until it leaves a slightly sticky surface without transfer when touched.

C.
Asphaltic Primer:  Prime metal and concrete and masonry surfaces with a uniform coating of the specified asphalt primer.

3.02  SUBSTRATE PREPARATION

*  NOTE:
See the Siplast Rigid Insulation and Base Sheet Usage Guide section of the Siplast Engineered Roofing Systems Manual for information regarding approved rigid insulation and applicable installation methods.

A.
Substrate Panel:  Install substrate panels with end joints offset; edges of the panels shall be in moderate contact without forcing applied in strict accordance with the insulation manufacturer's requirements and the following instructions.  Install only as much panels as can be made watertight within the same work day.

1.
Substrate Panel:  Mechanically attach the panel to the substrate, using the specified fasteners, at a rate of 1 fastener per [--] square feet of panel area ([----] per 4' x 8' panel).  Increase the fastening frequency by 50% at the perimeter of the roof and mechanically attach the corners at the rate of 1 fastener per 1 square foot of panel area (32 per 4-foot by 8-foot panel).  

B.
Torch Applied Temporary Roof Application:  Torch apply the ply sheets directly to the prepared substrate, lapping sides and ends a minimum of 3 inches.  Apply the sheets free of wrinkles, creases or fishmouths and exert sufficient pressure on the roll during application to ensure the prevention of air pockets.  Seal each penetration and termination using fiberglass tape and the specified plastic cement to ensure that the temporary roof configuration is completely water-tight.

C.
Adhesive Applied Temporary Roof Application.  Fully bond the ply sheet to the prepared substrate, utilizing minimum 3 inch side and end laps.  Apply each sheet directly behind the cold adhesive applicator.  Cut a dog ear angle at the end laps on overlapping selvage edges.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger end laps a minimum of 3 feet.  Seal each penetration and termination using fiberglass tape and the specified plastic cement to ensure that the temporary roof configuration is completely water-tight.

D.
Self-adhesive Applied Temporary Roof Application:   Unroll the ply sheet, and set the roll into place utilizing minimum 3 inch side and end laps.  Fold one end of the roll back onto itself by 24 inches.  Peel the release film off of the back of the 24 inch end section of the sheet and lay into place, pressing the 24 inch end section of the sheet firmly into place over the substrate.  Pull the release film free from the underside of the remainder of the sheet while pressing the material into place with a follow tool as the film is being removed, leaving the end laps unadhered.  Prior to adhering the head laps, cut a dog ear angle at the end laps on overlapping selvage edges.  Torch apply end laps, ensuring that the adhesive on the underside of the overlapping sheet and the top surface of the underlying sheet flow into a layer of continuously bonded or fused asphalt.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger end laps a minimum of 3 feet.  In cases where rapid onset of inclement weather occurs, all exposed lap edges should be sealed by “buttering” laps with a torch.  

E.
Insulation:  Install insulation panels with end joints offset; edges of the panels shall be in moderate contact without forcing applied in strict accordance with the insulation manufacturer's requirements and the following instructions.  Where insulation is installed in two or more layers, stagger joints between layers.  Maintain a maximum panel size of 4 feet by 4 feet for polyisocyanurate / fiberboard insulation applied in insulation adhesive.  Install only as much insulation as can be made watertight within the same work day.

1.
Insulation - multiple layer:  Set layers of insulation in an application of the specified insulation adhesive in 3/4- to 1-inch wide beads spaced 12 inches on center in the field of the roof, 6 inches on center at the perimeter of the roof, and 4 inches on center in the corners of the roof.  Panels may be affected by post-growth of the insulation adhesive.  Continuous walking in of the panels is recommended particularly in perimeter/corner areas with reduced bead spacing. Follow the requirements and guidelines of the insulation adhesive manufacturer/supplier.  Stagger the panel joints between insulation layers.

*  NOTE:
Fastening rate must be pre-selected.

2.
Crickets:  Construct crickets of tapered insulation panels in a layout as indicated on the roof plan.

3.
Tapered Edge at Transitions:  Field-cut, shape and install tapered edge strip at transitions of 1/4 inch or greater between substrate components to provide a smooth transition and proper support for the subsequent insulation layer or membrane/flashing system components.
3.03  ROOF MEMBRANE INSTALLATION

*  NOTE:
This specification is limited to projects having a maximum roof slope of 1/2 inch for hot asphalt applications and maximum roof slope of 2.5 inches for cold adhesive and torch applications.  Contact Siplast for specifications to meet higher slope requirements.

A.
Membrane Application:  Apply roofing in accordance with roofing system manufacturer's instructions and the following requirements.  Application of roofing membrane components shall immediately follow application of base sheet and/or insulation as a continuous operation.

B.
Aesthetic Considerations:  Construction of an aesthetically pleasing overall appearance of the finished roof application is a standard requirement for this project.  Make necessary preparations, utilize recommended application techniques, apply the specified materials including granules, and exercise care in ensuring that the finished application is acceptable to the Owner.

C.
Membrane Adhesive Application:  Membrane adhesive can be applied by roller, squeegee or spray unit.  Apply cold adhesive in a smooth, even, continuous layer without breaks or voids.  Utilize an application rate of 2 to 2.5 gal/sq (0.6 to 1.0 l/m²) over irregular or porous substrates.  Utilize an application rate of 1.5 to 2 gal/sq (0.6 to 0.8 kg/m²) for interply applications.  Double the adhesive application rate at the end laps of granule surfaced sheets.  Refer to the manufacturer’s inter-ply flashing detail at the locations that are to receive the specified catalyzed acrylic resin primer/flashing system.

D.
Bitumen Consistency:  Cutting or alterations of bitumen, primer, and sealants will not be permitted.

*  NOTE:
Choose all application techniques, for the following, as applicable for the specific roof assembly proposed.

E.
Roofing Application:  Apply all layers of roofing free of wrinkles, creases or fishmouths.  Exert sufficient pressure on the roll during application to ensure prevention of air pockets.  

*  NOTE:
Use the following items 1-3 for applications incorporating sheets applied perpendicular to the slope of the roof.

1.
Apply all layers of roofing perpendicular to the slope of the deck.

2.
Fully bond the base ply to the prepared substrate, utilizing minimum 3 inch side and end laps.  Apply each sheet directly behind the torch applicator.  Cut a dog ear angle at the end laps on overlapping selvage edges.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger end laps a minimum of 3 feet.

3.
Fully bond the finish ply to the base ply, utilizing minimum 3 inch side and end laps.  Apply each sheet directly behind the torch applicator.  Stagger end laps of the finish ply a minimum 3 feet.  Cut a dog ear angle at the end laps on overlapping selvage edges.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger side laps of the finish ply a minimum 12 inches from side laps in the underlying base ply.  Stagger end laps of the finish ply a minimum 3 feet from end laps in the underlying base ply.

*  NOTE:
Use the following items 1-3 in for applications incorporating sheets applied parallel to the slope of the roof.

1.
Apply all layers of roofing parallel to the slope of the deck.

2.
Fully bond the base ply to the prepared substrate, utilizing minimum 3 inch side and end laps.  Apply each sheet directly behind the torch applicator.  Cut dog ear angles on underlying end laps at the finish edge and the overlapping selvage edges.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger end laps a minimum of 3 feet.

3.
Fully bond the finish ply to the base ply, utilizing minimum 3 inch side and end laps.  Apply each sheet directly behind the torch applicator.  Stagger end laps of the finish ply a minimum 3 feet.  Cut dog ear angles on underlying end laps at the finish edge and the overlapping selvage edges.  Using a clean trowel, apply top pressure to top seal T-laps immediately following sheet application.  Stagger side laps of the finish ply a minimum 12 inches from side laps in the underlying base ply.  Stagger end laps of the finish ply a minimum 3 feet from end laps in the underlying base ply.

4.
Maximum sheet lengths and special fastening of the specified roof membrane system may be required at various slope increments where the roof deck slope exceeds 1/2 inch per foot. The manufacturer shall provide acceptable sheet lengths and the required fastening schedule for all roofing sheet applications to applicable roof slopes.

F.
Granule Embedment:  Broadcast mineral granules over all bitumen overruns on the finish ply surface, while the bitumen is still hot or the adhesive is soft, to ensure a monolithic surface color.

G.
Torch-applied Flashing Application (foil-surfaced):  Cut the cant backing sheet into 12 inch widths and peel the release film from the back of the sheet.  Set the sheet into place over the primed substrate extending 6 inches onto the field of the roof area and 6 inches up the vertical surface utilizing minimum 3 inch laps.  Set the non-combustible cant into place dry prior to installation of the roof membrane base ply.  Flash walls and curbs using the reinforcing sheet and the metal foil flashing membrane.  After the base ply has been applied to the top of the cant, prime the base ply surfaces to receive the reinforcing sheet.  Fully adhere the reinforcing sheet, utilizing minimum 3 inch side laps onto the primed base ply surface and up the primed wall or curb to the desired flashing height.  After the final roofing ply has been applied to the top of the cant, prepare the surface area that is to receive flashing coverage by torch heating granular surfaces or by application of asphalt primer; allowing primer to dry thoroughly.  Torch apply the metal foil-faced flashing into place using three foot widths (cut off the end of roll) always lapping the factory selvage edge.  Stagger the laps of the metal foil flashing layer from lap seams in the reinforcing layer.  Extend the flashing sheet a minimum of 4 inches beyond the toe of the cant onto the prepared surface of the finished roof and up the wall or curb to the desired flashing height.  Exert pressure on the flashing sheet during application to ensure complete contact with the vertical/horizontal surfaces, preventing air pockets; this can be accomplished by using a damp sponge or shop rag.  Check and seal all loose laps and edges.  Nail the top edge of the flashing on 9 inch centers.  (See manufacturer's schematic for visual interpretation).

H.
Torch-applied Flashing Application (granule-surfaced):  Cut the cant backing sheet into 12 inch widths and peel the release film from the back of the sheet.  Set the sheet into place over the primed substrate extending 6 inches onto the field of the roof area and 6 inches up the vertical surface utilizing minimum 3 inch laps.  Set the non-combustible cant into place dry prior to installation of the roof membrane base ply.  Flash walls and curbs using the reinforcing sheet and the granule-surfaced flashing membrane.  After the base ply has been applied to the top of the cant, prime the base ply surfaces to receive the reinforcing sheet.  Fully adhere the reinforcing sheet, utilizing minimum 3 inch side laps onto the primed base ply surface and up the primed wall or curb to the desired flashing height.  After the final roofing ply has been applied to the top of the cant, prepare the surface area that is to receive flashing coverage by torch heating granular surfaces or by application of asphalt primer; allowing primer to dry thoroughly.  Torch apply the granule-surfaced flashing into place using three foot widths (cut off the end of roll) always lapping the factory selvage edge.  Stagger the laps of the flashing layer from lap seams in the reinforcing layer.  Extend the flashing sheet a minimum of 4 inches beyond the toe of the cant onto the prepared surface of the finished roof and up the wall or curb to the desired flashing height.  Exert pressure on the flashing sheet during application to ensure complete contact with the vertical/horizontal surfaces, preventing air pockets.  Check and seal all loose laps and edges.  Nail the top edge of the flashing on 9 inch centers.  (See manufacturer's schematic for visual interpretation).

I.
Cement-applied Flashing (granule surfaced):  Flash masonry parapet walls and curbs using the reinforcing sheet and the granule surfaced flashing sheet.  Fully adhere the reinforcing sheet to the substrate.  Incorporate minimum 3 inch laps; extending the sheets a minimum of 3 inches onto the base ply surface and 3 inches up the parapet wall above the cant.  Terminate the finish ply at the top of the cant.  Cut the granule surfaced flashing into lengths that can be easily handled.  Apply a uniform coat of the specified flashing cement to the area to receive flashing coverage.  Set the flashing in place while exerting pressure on the flashing sheet to ensure complete contact with the wall/roof surfaces and to prevent air pockets.  Check and seal all loose laps and edges.  Nail the top edge of the flashing on 9 inch centers.

*  NOTE:
Veral Aluminum must be applied in SFT Cement where torch application is not allowed.  Contact Siplast for more information regarding approved flashing sheets and application methods to meet individual project requirements and Siplast Specifications.

J.
Catalyzed Acrylic Resin Flashing System:  Install the liquid-applied primer and flashing system in accordance with the membrane system manufacturer’s printed installer’s guidelines and other applicable written recommendations as provided by the manufacturer.

K.
Water Cut-Off:  At end of day's work, or when precipitation is imminent, construct a water cut-off at all open edges.  Cut-offs can be built using asphalt or plastic cement and roofing felts, constructed to withstand protracted periods of service.  Cut-offs must be completely removed prior to the resumption of roofing.

L.
Sealant:  Apply a smooth continuous bead of the specified sealant at the exposed finish ply edge transition to metal flashings incorporated into the roof system.

3.04 FIELD QUALITY CONTROL AND INSPECTIONS

A.
Site Condition:  Leave all areas around job site free of debris, roofing materials, equipment and related items after completion of job.

B.
Notification of Completion:  Notify the manufacturer by means of manufacturer's printed Notification of Completion form of job completion in order to schedule a final inspection date.

C.
Final Inspection/Post-Installation Meeting:  Hold a meeting at the completion of the project, attended by all parties that were present at the pre-job conference.  A punch list of items required for completion shall be compiled by the Contractor and the manufacturer's representative.  Complete, sign, and mail the punch list form to the manufacturer's headquarters.

D.
Issuance of the Guarantee:  Complete all post installation procedures and meet the manufacturer's final endorsement for issuance of the specified guarantee.

Paradiene 20 TG/30 FR TG
07 52 00 - 1
Modified Bituminous Membrane Roofing


rev. 1/2021


